## Slide 1: NuSTAR Calibration Status
Kristin Kruse Madsen
Caltech

## Slide 2
Detectors:
4x(32x32) CdZnTe
Optics:
Conical Wolter-I approximation
133 shells (43 W/Si, 90 Pt/C)
Energy range: 3 – 78 keV
Launch: July 2012

## Slide 3: Detectors
Detector 0
Detector 1
Detector 2
Detector 3
Escape lines
Cd & Te
CdZnTe
Operated @15 co
Photon counting
2.5ms dead time

## Slide 4: Gain calibration: On-board Eu-155 source
Future Gain calibration:
Cas-A
Tycho
Galactic center iron line
Internal bkg lines

## Slide 5: Crab residuals - physics based response

## Slide 6: NuSTAR effective area components
A0 = on-axis effective area
  Physics based ray-trace
V = vignetting function
  Physics based ray-trace
GR = Ghost Ray component
  Function of extraction region size, off-axis angle and azimuthal source position
AS = Aperture Stop
  Function of off-axis angle and azimuthal source position
Detabs = low energy Pt, CZT dead-layer absorbent
C = correction function

## Slide 7: NuSTAR effective area components
A0 = on-axis effective area
  Physics based ray-trace
V = vignetting function
  Physics based ray-trace
GR = Ghost Ray component
  Function of extraction region size, off-axis angle and azimuthal source position
AS = Aperture Stop
  Function of off-axis angle and azimuthal source position
Detabs = low energy Pt, CZT dead-layer absorbent
C = correction function

## Slide 8: Crab calibration
Assumption:
Γ = 2.1
N = 10
NH = 2.22e21 cm-2
(determined from 3c273)

## Slide 10: Crab before

## Slide 11: Crab after
A/B cross calibration 0 – 5%

## Slide 12: Effective Area and Vignetting

## Slide 13: Crab parameters v. Off-axis angle

## Slide 14: Effective Area calibration Summary
Calibration is valid up to 78 keV (Pt K-edge is theoretically at 78.4 but could be shifted, hence 78 keV as the upper safe limit)
The error on the slope is +/- 0.01 . This is the smallest error you can have on absolute number – tied to the Crab calibration.
We know there is a small evolution in slope as a function of off-axis angle, but that is covered by the +/- 0.01
NuSTAR has calibrated our responses AGAINST the Crab. Slope changes between instruments may be expected.

## Slide 15: Cross-calibration with 3c273 & PKS2155
Matched START and STOP times of limiting observation

## Slide 16: Confidence contours

## Slide 17: PSF – empirical model
Data
Model PSF
Ray trace
Wing
Background

## Slide 18: PSF: Energy dependency
EEF
Ratio (PSFX/PSF4.5)
HPD of the PSF decreases with energy

## Slide 19: HPDs

## Slide 20: Summary Calibration status
Detectors – Completed
ARF – Completed
  ARF revisions:
  (2013-08-14) CALDB version 20130509
    Crab calibration round 1 which changed the vignetting files to v005
  (2013-11-25) CALDB version 20131007
    Absolute normalization adjustment (+15% area, -15% flux) which changed the on-axis files to v006
    Energy dependent PSF
  (2014-01-17) CALDB version 20131223
    Crab high energy calibration round 2 which changed the vignetting files to v006
PSF – Completed
Background – Understood and managed, but improvement always needed.
Remaining calibration:
  Absolute aspect reconstruction ~ 8’’ (1 pixel = 2.45’’)
  Operations – pointing stability, planning
  Wish list: Better GR and AP corrections

## Slide 21: Back up slides

## Slide 22: Background
Well understood!
From D. Wik et al

## Slide 23: Variable background
Soft component :
  Clearly related to sun activity and present when the satellite is in sunshine: scattered solar X-rays
CXB also scattered:
  Clear signature in the power-law component seen in Dark Earth. Reflection off aperture backside.

## Slide 24: Variable Solar Background
Sunshine
No Sunshine

## Slide 25: CALDB
ARF revisions.
  (2013-08-14) CALDB version 20130509
    Crab calibration round 1 which changed the vignetting files to v005
  (2013-11-25) CALDB version 20131007
    Absolute normalization adjustment (+15% area, -15% flux) which changed the on-axis files to v006
    Energy dependent PSF
  (2014-01-17) CALDB version 20131223
    Crab high energy calibration round 2 which changed the vignetting files to v006