## Slide 1: Absolute Crab Flux
Kristin K Madsen, IACHEC 2017

## Slide 2: NuSTAR stray light observations
Paper submitted and accepted in ApJ.

## Slide 3: Response
Area on detector (1%)
Be window (1%)
100 m with a throughput of 92% at 5 keV and 98% at 10 keV.
RMF (1%)
  98% between 4 - 40 keV and understood to < 1%

## Slide 4: Spectrum
Nuabs * Tbabs * powerlaw
NH=2.2 x 1021 cm-2
  At 4 keV the absorption of this column is 1% and if the column was increased to 4 x 1021 cm-2 the absorption at 4 keV would be 2%.
  With the best fit detector absorption parameters frozen, NH has for these observations a 90% confidence limit of 1.1 x 1021 cm-2 .
Nuabs is fitted. It is somewhat degenerate with NH.

## Slide 5: Stray light spectrum

## Slide 6: Results

## Slide 7: Proposal for monthly campaign
One observation a month for:
  20 ks SL observation (science, calibration)
  10-20 ks background observation
  10 ks focused observation (calibration)
Aim is to get:
  Measure 2% flux variations
  Get accurate snap shot spectra

## Slide 8: Scientific motivation

## Slide 9: Predicted Spectrum