## Slide 1: IACHEC Concordance & XMM Calibration Implications: In-Flight Calibration of X-ray Telescopes without Absolute References
Herman L. Marshall (MIT), Vinay Kashyap, Jeremy Drake, Pete Ratzlaff, Paul Plucinsky (SAO), Matteo Guainazzi (ESA)
Yang Chen (Harvard, UMich.), Xiao-Li Meng, Xufei Wang (Harvard), David van Dyk (ICL)
(Marshall+, 2021, AJ, 162, 254; see also IACHEC May 2022)

## Slide 2: The Goal
The problems
  Discrepant results from X-ray observatories in orbit
    Cluster temperatures and fluxes
    Blazar fluxes from simultaneous observations
    SNR line fluxes
  Imperfect ground cal, performance changes in flight
    Instrument area priors differ from “true values”
  No absolute calibrators across all bands in flight: no “true”
Specific task: derive for optimal agreement
Let flux
  where = prior on
  = observed counts
  = known exposure time

## Slide 3: Some Previous Cross-Cal Work
1E0102 (Plucinsky+ ’17)
3C 273 (Kruse Madsen + ’17)
G21.5-0.9 (Tsujimoto + ’10)

## Slide 4: The Problem, Graphically
Source Flux
Observed
Count Rate
A1
a3 = A3
A2
F3
C13/T13
a2
a1
F1
F2
Estimated EA
Ideal EA

## Slide 5: Multiplicative Shrinkage (Chen+ ’19, JASA)
EA prior uncertainties
Data uncertainties

## Slide 6: Complications I: Flux Measurements
    Concordance: find where
  Fluxes in band derived by an inversion process
  Input: observation for counts in channel k
  Then fit to model
    where and define shape functions and , the detector response is , and
    Now,
ACIS RMF
Bautz+ ‘99
G21.5-0.9 (Tsujimoto + ’10)

## Slide 7: Complications II: Eff. Area Correlations
  Assume we have EA parameters giving with
  Then is the best (prior) estimate of B and should be the prior’s variance
  Consider two energies, and , then the correlation between these is
  In reality, a Monte Carlo method is used to compute the correlations…

## Slide 8: Assessing Priors
Collecting prior (fractional) uncertainties on effective areas
Cal scientists assessed their instruments

## Slide 9: Input Data
Paper I (Chen+, 2019, JASA)
  1E0102 with 13 instruments (N=13), O & Ne (M=2)
  2XMM catalog targets, N=3, M=41; soft, medium, hard
  XCAL bright targets, N=3, M=94-108; soft, medium, hard
Paper 2 (Marshall+, 2021, AJ, 162, 254)
  Same 3 sets as in Paper I
  Also Capella with Chandra gratings, N=8, M=15
  Added correlations of XMM hard, medium, soft
  Added corrlations of O, Ne fluxes of 1E0102
  Used heterogeneous tau values
Sample Data (Marshall+ 2021)

## Slide 10: Concordance Results
SNR 1E0102: Correlations change results, tau values matter
2XMM sample: slight changes when taus are assigned
XCAL: same as 2XMM
Capella, Chandra TGs: ±1 orders agree, LETG is low of HETG

## Slide 11: Validation Simulation 1
5 Instruments, = [0, 1, -1, 2, -2], t=1
40 sources, (on )
Concordance: unbiased posteriors, good posteriors
Ratio estimates: wide flux ranges

## Slide 12: Validation Simulation 2
3 instruments, 20 sources, 3% stats, = [1.0,1.0,0.9]
Sim 1: poor flux error range coverage but good with Concordance
Sim 2: same setup but 0.3% stats for
Concordance is still good
Ratio estimator ranges don’t cover true fluxes

## Slide 13: Next: XMM/Chandra XCAL

## Slide 14: XCAL Time-Dependence

## Slide 15: Conclusions
Concordance is “operational”
Simple situations an simulations give reasonable answers
Possible improvements
  Outliers handled with t distribution
  Fluxes in bands are related globally, not independent
  Instrument areas are time-dependent
Upcoming: XMM/Chandra cross-cal