## Slide 1: In-flight calibration for LEIA
Haiwu Pan
National Astronomical Observatories, Chinese Academy of Sciences
panhaiwu@bao.ac.cn
On behalf of EP WXT calibration team

## Slide 2: EP-WXT pathfinder Lobster Eye Imager for Astronomy (LEIA)
Successfully launched 2022 July 27, @Jiuquan
CAS’s experimental satellite SATech-01
LEIA
More details in Zhixing’s talk!

## Slide 3: In-flight calibration
Gain: Cas A
Background: blank sky
Effective area: Crab
Positioning: Crab

## Slide 4: Gain: Cas A
PI(PH) = (PHA*GC0+GC3) / G
Gain values (GC0, GC3) from on-ground calibration
Nominal gain (G) is set to be 10

## Slide 5: Gain and Energy resolution: variation?

## Slide 6: Background: blank sky
The particle background is higher than expected.
LEIA operates in a sun-synchronous near-Earth circular orbit; high particle background at high geo-latitude regions.
Spectra of blank sky observed with LEIA
Simulated
Observed
X-ray emission
Particle

## Slide 7: Effective area: Crab

## Slide 8: Effective area: Crab
? Not understood

## Slide 9: Effective area: variation?

## Slide 10: Positioning: Crab
Rotation Matrix corrected

## Slide 11: Positioning: off-set correction
Cubic polynomial

## Slide 12: Positioning: off-set correction
Thin-plate spline interpolation
Telescope definition file

## Slide 13: Positioning accuracy
2023.1.1-1.31, observations of LMC
LMC X-3
Observed by CMOS15, 16

## Slide 14: Positioning accuracy
Square: off-set correction not considered
Triangle: off-set correction considered
Positioning accuracy of LEIA can reach ~2 arcmin

## Slide 15: EP-WXT in-flight calibration strategy
Targets: Cas A, Crab
12 modules (48 sections); No enough time!
4 scanning points of Cas A for each section
7×7 scanning points of Crab for each section
Other bright sources (like GC sources) will be used to calibrate the positioning

## Slide 16: Observations of Crab and Cas A during all-sky survey
The observation positions of Crab
The observation positions of Cas A

## Slide 17: Conclusion
The gain and energy resolution of LEIA in-flight are consistent with the result from on-ground calibration.
The X-ray emission background is similar with the simulated result, while the particle background is somewhat higher, due to LEIA’s orbit .
The effective areas of LEIA are consistent with the result from on-ground calibration.
The positioning accuracy of LEIA can reach ~2 arcmin.
Thank you