## Slide 1: NuSTAR Calibration Update
Kristin K. Madsen & Brian Grefenstette
And the NuSTAR SoC

## Slide 2
Date | Description
2013-08-14 | Initial CALDB public release
2013-11-25 | ARF adjustment (-15% NuSTAR flux)
2014-01-17 | VIGN adjustment
2014-07-01 | Gain calibration improvement
2015-03-20 | Full mission Gain adjustment
2016-06-06 | Update gain, effective area, line of sight absorption
2019-12-13/19 | Update long term gain tracking
2020-05-06 | High resolution clock correction
2020-08-13 | Temperature-dependent ARF implemented
2021-02-23 | Observatory alignment update
2021-10-26 | Observatory calibration update based on 9-years of crab observations
2022-05-10 | FPMA DET2 long term gain adjustment

## Slide 3: 2012 In-flight Calibration
Implemented a 15% increase in effective area to decrease the flux
Focused Crab model:
  Gamma = 2.1
  N = 8.5

## Slide 4
71 focused
Crab observations

## Slide 5: Relative model components

## Slide 6
2.13
2021-10-26