## Slide 1: INTEGRAL/ISGRI Analysis of PSR B1509-58
James Rodi, Lorenzo Natalucci
INAF-IAPS Rome, Italy
15th IACHEC Workshop
Pelham, Germany 23-27 April, 2023
Image: https://chandra.harvard.edu/photo/2009/b1509/

## Slide 2: PSR B1509-58 Details
Young radio Pulsar
Period of ~150 ms
Detected from radio to TeV
Observed by instruments from X-ray to gamma-ray
  RXTE, XMM, HXMT, NuSTAR, INTEGRAL,
  Suzaku, and other missions
Potentially cross-calibration source for IACHEC
Credit:https://www.nasa.gov/feature/goddard/2017/nasa-continues-to-study-pulsars-50-years-after-their-chance-discovery

## Slide 3: PSR B1509-58 Details
Difficult to use for timing analysis due to evolving period
  RXTE timing analysis from Livingstone & Kaspi (2011) unable to describe timing behavior with 12 derivatives
But pulsed flux constant over time
  ~1.18 x 10-10 erg/cm2/s in 2-50 keV
  Linear fit found Χ2 =52.4 with dof = 150 so consistent with constant flux (Livingstone & Kaspi, 2011)

## Slide 4: Initial INTEGRAL/ISGRI Analyses
INTEGRAL/ISGRI:
  20-1000 keV range
  61 microsec timing resolution
Forot et al (2006) ~ 1.3 Ms of ISGRI, but focused on unpulsed flux
  ISGRI has ~13 Ms exp time
Early work with INTEGRAL/ISGRI using observations during MJD 53021-53086
  Exp time of ~77 ks
  30 phase bins (~5 ms)
  Used ephemeris of Livingstone & Kaspi (2011)

## Slide 5: Initial INTEGRAL/ISGRI Analyses
phase resolved spectra between OSA 10.2 and OSA 11
  similar 𝚪, but different
  Running unpulsed phases still
Chen show 𝚪 drops in pulse; increases unpulsed
  Need to confirm trend
Chen et al (2016)

## Slide 6: Initial INTEGRAL/ISGRI Analyses
Comparison of pulsed spectra OSA 10.2 and OSA 11
similar fluxes (~2.7 vs ~3.1)
𝚪’s sig different (1.3 vs 1.6)
Possibly due to new E calibration
Need to Double check phases in 10.2 analysis first
OSA 10.2
OSA 11
𝚪= 1.3 +/- 0.1
3-79 keV flux: ~2.7 x 10-10 erg/cm2/s
𝚪= 1.6 +/- 0.1
3-79 keV flux: ~3.1 x10-10 erg/cm2/s

## Slide 7: Comparison with Previous results
Compare with results in Chen et al (2016)
ISGRI similar to Welcome values
INTEGRAL/ISGRI 30-900 1.3 ± 0.1 ~2.7 OSA 10.2
2-50 keV flux ~ 1.7 (ISGRI) vs 1.18 (RXTE)
Chen et al (2016)
ISGRI
INTEGRAL/ISGRI 30-900 1.6 ± 0.1 ~3.1 OSA 11

## Slide 8: Future Work
Chen et al (2016)
ISGRI
Initial work using only ~77 ks / 13 Ms exp time
Finish current 6 band analysis and understand 10.2/12 differences
analyze all ISGRI data with OSA v11.2 at higher E res
  Look at pulsed spectrum
  Study spectral variability with phase
Compare with other instruments, e.g. NuSTAR (Chen
et al. (2016) in similar energy range
Expand results with broadband spectrum