## Slide 1: Monitoring the evolution of SN1987A, a comparison between eROSITA and XMM-Newton EPIC-pn observations:
Chandreyee Maitra
Max Planck Institute for Extraterrestrial Physics
April 24, 2023
IACHEC meeting

## Slide 2: SN 1987A: A template to link supernovae to their remnants
Large Magellanic cloud at a distance of 51.4 ±1.2 kpc (Panagia 1999)
Core collapse origin; progenitor was identified as Sanduleak -69 202, a blue supergiant.
Subject of intense monitoring at all wavelengths, one of the most well-studied objects in astronomy
Monitored in X-rays with Rosat, XMM, Chandra, Suzaku (recently eROSITA & NuSTAR)
Sanduleak -69 202
Supernova 1987A
Australian Astronomical observatory
SN 1987A in 2011. Credit: ESA/Hubble & NASA

## Slide 3: SN 1987A: A template to link supernovae to their remnants
Large Magellanic cloud at a distance of 51.4 ±1.2 kpc (Panagia 1999)
Core collapse origin; progenitor was identified as Sanduleak -69 202, a blue supergiant.
Subject of intense monitoring at all wavelengths, one of the most well-studied objects in astronomy
Monitored in X-rays with Rosat, XMM, Chandra, Suzaku (recently eROSITA & NuSTAR)
Sanduleak -69 202
Supernova 1987A
Australian Astronomical observatory
SN 1987A in 2011. Credit: ESA/Hubble & NASA
SN 1987A in 2011. Credit: ESA/Hubble & NASA
Frank et al.2016

## Slide 4: Monitoring of SN 1987A
X-rays Insights into physics of the shock emitting plasma and its interaction with the CSM structures, SN ejecta & progenitor
X-ray monitoring
First detected with ROSAT (Beuermann+94, Hasinger+96)
Steep increase in X-ray flux at ~ 4500 d after explosion. Intense monitoring by XMM-Newton, Chandra (Park+2005,Haberl+2006, Maggi+2012,Frank+2016, Maitra+22)
XMM/EPIC-pn monitoring 2007-2023 traces the flux (& spectral) evolution
Near-simultaneous pointed observation with eROSITA in Sept. 2019, also eRASS surveys (2020-2021)

## Slide 5: SN 1987A: X-ray emission model
High resolution X-ray spectroscopy was used to model the X-ray emission (Zhekov+2010, Dewey+2012) : 3 plane parallel shock components (vpshock)
Material in the dense equatorial ring heated by a slow shock (including inter-clump gas)
Shock heated CSM (HII region) located above and below the ring
Reflected shock heated gas, also in recent years shock heated ejecta
kT2 fixed to 1.15 keV & ionisation timescales cover a factor of 2

## Slide 6: 35 years of monitoring of SN 1987A with EPIC-pn

## Slide 7: Monitoring the flux evolution of SN 1987A with EPIC-pn
EPIC-pn monitoring from day 4712 to 13133 after explosion - Now entry into ejecta dominated phase !
Consistent monitoring with EPIC-pn FF and medium filter, single-pixel events
Flux in the soft band dropped by 23% of the peak value (0.5-2 keV)
Hard band (0.3-10) sloped changed from 2.5E-3/day to 1.8E-3/day

## Slide 8: Monitoring of SN 1987A with SRG/eROSITA
However early pointed observations with an older event processing mode (PMWORK)
Survey data is shallower..

## Slide 9: eROSITA observations of SN 1987A
2019-09-15 Commissioning phase observation ~100 ks
Quasi-simultaneously with XMM-Newton
2019-10-18 First light observation ~70 ks

## Slide 10: eROSITA observations of SN 1987A
Comparison of XMM Newton EPIC-pn spectrum from with eROSITA Cal. observation:
Note the much stronger re-distribution in the EPIC-pn spectrum at low energies.

## Slide 11: eROSITA Comm. Spectrum
PATTERN 15
TM3, TM4
PATTERN 1
TM3, TM4
Energy keV | TM3 Flux (10-13 erg/cm2/s) | TM4 Flux (10-13 erg/cm2/s)
0.5-2.0 | 69.5+1.8 -1.9 | 69.2+1.6 -1.9
3-10.0 | 20.3+1.1 -0.8 | 20.2+1.1 -0.9
Fluxes agree within < 1% for PAT 15
PAT 1 fluxes lower by ~ 2%
Obtained by fitting best-fit spectrum for EPIC-pn

## Slide 12: eROSITA FL. Spectrum
PATTERN 1
PATTERN 1
TM 1, 2,3,4,6
TM1 Flux (10-13 erg/cm2/s) | TM2 Flux (10-13 erg/cm2/s) | TM3 Flux (10-13 erg/cm2/s) | TM4 Flux (10-13 erg/cm2/s) | TM6 Flux (10-13 erg/cm2/s)
69.7±1.2 | 68.9±1.0 | 68.2±1.0 | 69.4±1.1 | 67.1±1.0
19.2±0.8 | 19.0±0.7 | 18.8±0.7 | 19.1±0.8 | 18.5±0.7
Fluxes agree within < 4% for PAT. 15
PAT 1 fluxes lower by ~ 5-7%
PATTERN 15
TM 1, 2,3,4,6

## Slide 13: Simultaneous fit of eROSITA+EPIC-pn 2019
eROSITA & EPIC-pn fluxes agree within 5% and 2% for all valid and single pixel events in 0.5-2 keV; & 10% and 3% in 3-10 keV.
Lower post-shock temperature kT3 in eROSITA spectrum
Slightly elevated abundance measured for Ne, Si and S compared to EPIC-pn 2019
Parameters in broad agreement with EPIC-pn

## Slide 14: Comparing the flux evolution of SN 1987A
EPIC-pn monitoring from day 4712 to 13133 after explosion - Now entry into ejecta dominated phase !
PATTERN 15
PATTERN 1
Survey data
Survey data
Survey data
PATTERN 1
PATTERN 15
Improved threshold for pattern recognition and energy calibration

## Slide 15: Comparing the flux evolution of SN 1987A
PATTERN 15
PATTERN 1
Survey data
Survey data
Survey data
PATTERN 1
PATTERN 15
eROSITA survey data (eRASS1-2 & eRASS3-4) compared before and after improved thresholds for pattern recognition & energy calibration (K. Dennerl)
Fluxes agree within 8% for TMs for valid patterns in 0.5-2 keV & 3-10 keV
Fluxes increase by 6-8 % after applying improved pattern & energy calibration
eRASS fluxes in 3-10 keV band lower by ~21% than EPIC-pn (large errors dominate)

## Slide 16: Comparison of continuum parameters
The 2 groups broadly consistent within each other
eROSITA survey data (eRASS1-2 & eRASS3-4) have higher errors, but centroid values seem to have shifted with improved energy & pattern calibration
The hot plasma component is very unconstrained in eRASS data
2019
2020-2021

## Slide 17: Comparison of Elemental abundances
2019
2020-2021
2020-2021
2019
2019
2020-2021
2020-2021
2019

## Slide 18: Comparison of Elemental abundances
2019
2020-2021
2020-2021
2019
2019
2020-2021

## Slide 19: Caution on elemental abundances
Chemical composition from EPIC-pn is averaged over plasma components which is evolving
Comparison between different missions require one consistent model, e.g Chandra HETG/LETG and XMM/RGS use 2 kT models.
Chemical composition of the cooler+warm emission components is consistent with recent analysis of grating spectra (HETG/RGS,Bray+2020, Sun+21)
EPIC-pn and eROSITA abundances and broadly consistent within errors.

## Slide 20: Summary
Flux evolution of SN 1987A (2007-2023) obtained in the X-ray band with EPIC-pn indicates a drop in peak flux by 23% in the soft band and a flatter slope in the hard band.
eROSITA fluxes are higher than EPIC-pn in 2019 with valid-patterns (PAT=15 )and slightly lower with single-pixel events (PAT=1). Spectral parameters in broad agreement. However eROSITA CalPV obs were in old processing mode (PMWORK)
eRASS data is limited by exposure time
eRASS fluxes in 3-10 keV band lower by ~21% than EPIC-pn (large errors dominate)
eRASS fluxes increase by 6-8 % after applying improved pattern & energy calibration in all bands
Elemental abundances & continuum parameters between eROSITA and EPIC-pn (2019-2021) broadly consistent
C. Maitra, F. Haberl, M. Sasaki, P. Maggi, K. Dennerl, M. Freyberg, E. Gatuzz, P. Gawade

## Slide 21: Chandra view of Evolution of SN 1987A
Similarities between the radio and the hard X-ray band (2-10 keV) suggest that the emission arises from the same region

## Slide 22: Flux evolution of SN 1987A: A new evolutionary phase
latest EPIC-pn fluxes unto 13133 d confirms the blast wave has passed over the ER
Elemental abundance of O, Ne, Mg have increased with time.
Properties of ejecta will begin to dominate the X-ray emission

## Slide 23: EPIC RGS observation of SN 1987A
1.32 Ms co-added spectrum (2007-2020)