## Slide 1: Flux comparisons between eROSITA and Chandra for SPT-selected galaxy clusters
Jeremy Sanders
MPE
Thanks to the eROSITA cluster working group (including Ang Liu, Emre Bahar, Xiaoyuan Zhang, Esra Bulbul, Vittorio Ghirardini) and Konrad Dennerl

## Slide 2: Using clusters for X-ray flux comparisons
Positives
  Constant flux (except for embedded point sources)
  Relatively simple spectrum (though there can be temperature variation)
  Not piled up
Negatives
  Background can be important
  Morphology can be complex (though not as much as SNR)

## Slide 3
Redshift order (0.28 to 1.2, median 0.6), 4.5x3.5 arcmin regions
Sample is a set of 83 clusters selected by the SPT telescope using SZ effect, and observed by Chandra.
See:
Sanders+18
McDonald+13

## Slide 4: Modelling software: MBProj2D
MBProj2D (MultiBand Projector in Two Dimensions) is a forward modelling package for galaxy clusters, where parametrized 3D models are fitted to 2D X-ray images in multiple energy bands
Previous codes fitted surface brightness profiles (MBProj2, Sanders+2018; MBProj, Sanders+2014)
Multiple bands provides low resolution spectroscopy, allowing temperatures, etc, to be measured
  Good agreement between spectroscopic and fitted temperatures in tests
Code used for eROSITA eRASS1 cluster analysis
https://github.com/jeremysanders/mbproj2d

## Slide 5: eROSITA survey
eROSITA combined exposure over sky (s)
Effective area
eROSITA on SRG consists of 7 telescope modules (TMs), which scanned sky every six months
Over four surveys taken (eRASS1-4)
FoV of each TM is around 1° diameter
Two of the TMs do not have an on-chip filter, and suffer from a light leak problem (TM5+7)
Survey averaged PSF  30ʺ HEW
eRASS1 (Galactic)

## Slide 6: Data being fitted
Chandra:
  Images in 10 bands (0.50-0.75, 0.75-1.00, 1.00-1.25, 1.25-1.50, 1.5-2.0, 2-3, 3-4, 4-5, 5-6, 6-7 keV)
eROSITA
  Images taken from eRASS:4 survey (2 years of observations), using 020/948 processing version (similar to be released eRASS1 survey)
  Single band 0.3-2.3 keV images
  Use 5 non-light-leak cameras
  All event patterns

## Slide 7: Data treatment
For consistency, apply Chandra exposure mask to eROSITA data to use same field of view
Take Chandra point source catalogue, and mask to 0.35 arcmin radius in both datasets
Mask out everything beyond 5 Mpc cluster radius
Background
  Chandra: Take smoothed blank sky dataset images with fitted scaling factor in each band
  eROSITA: Assume flat vignetted sky distribution, with fitted scaling factor

## Slide 8: Modelling
Cluster temperature
  Chandra: fit temperature
  eROSITA: use log-Gaussian temperature prior based on Chandra fits
Cluster density profile – Vikhlinin et al. – beta model with powerlaw core and outer profile break
Assume 0.3 solar metallicity (lodd abundances)
Same redshift (taken from SPT catalogue)
Same Galactic absorption (HI4PI value)

## Slide 9: Example fit: SPT-CLJ0200-4852
Data 0.5-2.0 keV, 2 arcsec bins
(around 25ks exposure)
Best fitting model image 1.00-1.25 keV,
showing mask
Chandra

## Slide 10: Example fit: SPT-CLJ0200-4852
Data 0.3-2.3 keV
(around 490s exposure)
Best fitting model image,
showing mask
Voronoi-binned residuals
eROSITA

## Slide 11: Flux comparison
Model flux inside a 2 arcmin radius aperture
Distribution of eROSITA/Chandra (median 0.86)

## Slide 12: More advanced analysis
Joint fit between Chandra and eROSITA data
Apply a variable scaling parameter to eROSITA source model
Point sources:
  Fit point sources for eROSITA, for those within 3 arcmin radius from cluster
  However, continue to mask them for Chandra (masked regions small)
  Outside 3 arcmin radius, mask to 0.5 arcmin radius
  Exclude two clusters where point source model breaks

## Slide 13: Joint eROSITA-Chandra fits
Same median scaling factor between eROSITA and Chandra as previous analysis
Independent image fitting code of Emre Bahar finds similar results for a different cluster sample

## Slide 14: XMM-eROSITA comparison
eROSITA luminosity (erg s-1)
XMM luminosity (erg s-1)
Sample of bright Planck clusters
XMM results: Xiaoyuan Zhang
eROSITA results: Emre Bahar
Spectral fitting within R500
Point sources same as eRASS1
Absorption, redshift and metallicity the same
Local background used

## Slide 15: Issue with threshold in recent processing
Konrad Dennerl
CCD threshold issue in recent data processing (947/010 and 948/020) leads to a loss of around 6% of counts in soft band.
TM2, 0.5-2.5 keV, all valid patterns, eROdays 48144–48199
(old processing)
946: previous processing version
947/010: DR1 processing version
948/020: processing version used here
=> Significant, but not enough for what is seen here
Note: readout shadow not accounted for, but effect is <1%

## Slide 16: Examining differences between eROSITA TMs
Can include variable scaling parameters to cluster model for each input dataset.
Here all TMs for eROSITA can vary, except for TM1, fitting the data simultaneously. Backgrounds can vary for each TM.
Plot shows the average scaling factor for the cluster sample.
Variations between TMs of a similar size have also been found by K. Dennerl for 1E 0102.2-7219.

## Slide 17: Conclusions
Current eROSITA processing has an issue of 6% lower fluxes caused by threshold levels
However, still remaining 9% lower fluxes in eROSITA than Chandra, when doing cluster analysis
eROSITA also around 10% lower than XMM (though before above 6% correction)
Unclear what the origin of the remaining differences is
In future
  Separate out vignetting and effective area
  Looking at bright extended sources in narrow energy bands in different telescopes may be very helpful to compare fluxes.
  Currently doing stacked source analysis for vignetting and PSF
  XMM comparison

## Slide 18: Multi band projection comparison
MBProj comparison for PKS 0745-191 cluster, showing excellent agreement between Chandra spectroscopic and imaging results (in deprojected profiles).
Just using three bands here (0.5-1.2, 1.2-2.5 and 2.5-6.0 keV).
Sanders+2014

## Slide 19
Results from source stacking approach and PSF modelling
Does not account for bad pixels
Normalised in centre, where most uncertain in survey
IN PROGRESS!

## Slide 20
Results from source stacking approach and PSF modelling
Does not account for bad pixels
Detector area weighting normalisation to give average of 1
IN PROGRESS!

## Slide 21
eROSITA: MBProj2D vs spectral fitting
Comparison of fluxes in a 2 arcmin radius aperture.
Temperatures fixed to Chandra values.
Only fit between 0.3 and 2.3 keV.
Local background spectra extracted from 4-6 arcmin radius (compared to 2 arcmin for source).
Corrections to account for point source regions and PSF computed from MBProj2D best fitting model.
On-axis response (with standard exposure map).

## Slide 22
Konrad Dennerl results for 1E 0102.2-7219

## Slide 23
Once we have relative normalisations and background, we can stack normalised counts in annular regions.
0.3-2.3 keV stacked PSFs. Aperture is 4 arcmin radius. In detector-like coordinates (sky rotated by –ROLL). Smoothed.
IN PROGRESS!

## Slide 24: Survey average HEW
HEW
25% EW
90% EW
IN PROGRESS!

## Slide 25
Abell 3266 pointed observation (Sanders+22)