## Slide 1: Ground Calibration across X-ray test facilities
Vadim Burwitz (MPE)
Takashi Okajima (GSFC)
On behalf of the WG Members
21.04.2026
IACHEC #18, Pelham, Bavaria, Germany
Vadim Burwitz (MPE/PANTER) IACHEC #18 Pelham, Bavaria, Germany 21.04.2026

## Slide 2: Ground Facility Cross Calibration
Important for measurement and understanding of on- and off-axis:
  PSF
  Effective Area / Vignetting
Comparing measurements with simulations
  Important to understand if optics perform as expected
Making predictions for parallel illumination in orbit
  Needed to have a solid starting point for in orbit calibration
Vadim Burwitz (MPE/PANTER) IACHEC #18 Pelham, Bavaria, Germany 21.04.2026

## Slide 3: Illumination of Mirror Infinity vs. Finite Source Distance
Infinity
Finite
Y. X. Zhu et al. 2025
eXTP MM3 prototype
Single reflections from primary
Double reflections intersect inner shell
Double reflections
Double reflections
primary
secondary
primary
secondary
Unilluminated
Unilluminated
Vadim Burwitz (MPE/PANTER) IACHEC #18 Pelham, Bavaria, Germany 21.04.2026

## Slide 4: Overview of available X-ray Test Facilities
Japan
  30m (ISAS) Pencil beam
China
  XF100 (IHEP) Long beam
  12-m (NAOC) Long Beam
  Shanghai (Tonji) Pencil beam
USA
  XRCF 518-m (MSFC) Long beam
  100-m (MSFC) Long beam
  100-m (GSFC) Long beam
  47-m (PSU) Long beam
  20-m Polarimetry (MIT) Long Beam
Europe
  PANTER (MPE,DE) 130-m Long beam
  LLBTF (Leicester, UK) 27.5-m Long beam
  XACT (Palermo, IT) 35-m Long beam
  IKI60 (IKI, RU) 60-m Long beam
  BESSY (cosine, DE) Pencil beam
  ALBA (cosine, SP) Pencil beam
  BEaTriX (Merate, IT) 12-m Parallel beam
  Vert-X (MLT, IT, design) 12-m Parallel beam
  CSL (Liege, B) XMM Vertical EUV facility
Vadim Burwitz (MPE/PANTER) IACHEC #18 Pelham, Bavaria, Germany 21.04.2026

## Slide 5: X-ray Ground Calibration Facilities
Can support
  Development
  Testing (Environmental)
  Calibration
of X-ray
  Optics
  Detectors
  Telescopes (optic + detector)
Vadim Burwitz (MPE/PANTER) IACHEC #18 Pelham, Bavaria, Germany 21.04.2026

## Slide 6: Current Ground Facility Cross Calibration I
NewATHENA
  BESSY – ALBA – BEaTriX – PANTER
    MM-0037  mandrel-based optic (f = 12 m)
    MM-0058  first flight like Silicon Pore Optic (f=12m)
    New coated Mandrel optic being prepared
    New SPOs being prepared
  XRCF – PANTER
    MM-0036  Silicon pore optic (f = 12 m, R=737 mm)
eXTP
  XF100 – PANTER
    MM3 prototype  3 mirror shell eXTP prototype nickel optic
    Optics development progressing, New tests upcoming
XF100 IHEP
Vadim Burwitz (MPE/PANTER) IACHEC #18 Pelham, Bavaria, Germany 21.04.2026

## Slide 7: Current Ground Facility Cross Calibration II
XRISM
  ISAS 30-m – 100-m GSFC
    Mirror Module/s  Resolve And Xtend mirrors
AXIS / NGXO
  100-m GSFC – PANTER (including environmental tests)
    Mirror module tests ongoing at PANTER as we speak
Vadim Burwitz (MPE/PANTER) IACHEC #18 Pelham, Bavaria, Germany 21.04.2026
100-m GSFC
PANTER

## Slide 8: Current Ground Facility Cross Calibration II
Reference Optics for Cross calibration
  eROSITA type electroformed mirror shell
  Marshall type electroformed mirror shell
  What is need for cross calibration tests
    Compact (dimensions / mass)  Easy to transport
    No export control issues!!
  Detailed model
    Geometry
    Coating
    Deformation under gravity
Vadim Burwitz (MPE/PANTER) IACHEC #18 Pelham, Bavaria, Germany 21.04.2026
Shell identified
for these tests
Available at PANTER

## Slide 9: X-ray Ground Calibration: Simulation
Raytracing simulations for
  Mirrors
    Including shape errors
    Surface roughness
    Coating recipes
Raytracing packages
  comparison using a reference model
Vadim Burwitz (MPE/PANTER) IACHEC #18 Pelham, Bavaria, Germany 21.04.2026

## Slide 10: X-ray Ground Calibration: Data Analysis
Analysis Tools
  Most critically PSF HEW determination for high spatial resolution PSFs
  Generic PSFs need to be generated  distributed to different teams for analysis and later comparison
  Effective area should also be verified
Vadim Burwitz (MPE/PANTER) IACHEC #18 Pelham, Bavaria, Germany 21.04.2026

## Slide 11: Summary
The goals of the new “Ground Calibration Working Group”
  X-ray test facilities – cross-calibration using a reference optic
  Ray-Tracing packages – cross-check with a reference optic model
  Analysis methods – verify using master data set
  New Missions – guidance for ground calibration plans
Reasoning
  Get the calibration starting point right  accurate prediction of in-orbit performance
  Independent verification of the ground measurements
  If needed, spread the calibration load between facilities.
Vadim Burwitz (MPE/PANTER) IACHEC #18 Pelham, Bavaria, Germany 21.04.2026