## Slide 1
SCORPEON for Modeling NICER Background Craig Markwardt (NASA/GSFC) on behalf of NICER Team
GSFC
Working Groups

## Slide 2: SCORPEON Background Modeling
SCORPEON Model
Major goals
  Break down background into physically-motivated components
  Assume that these components can be modeled with simple spectral models so they are easy to implement
(Inspired by Eric Millers work on Suzaku background)

## Slide 3: Summary Up Front
To a large extent the background is predictable a priori
The power of SCORPEON is that the a priori norms can be adjusted by fitting to data while simultaneously fitting to your source data
  Better fit
  Better capture of covariance between background uncertainty and science model parameter uncertainty

## Slide 4: NICER Calibration Elements (x52!)
X-rays
Thermal Film
X-ray Concentrator
(Note: No “Magnetic Broom”)
Detector Window
FPM Silicon Drift Detector

## Slide 5: Unique Features of NICER
Above ~25 keV deposited energy, an ADC overshoot is registered instead of a pulse height
    Rate of overshoots can use as background proxy
Two pulse-height measurements
  Slow pulse shaper and Fast pulse shaper
    Ionizing particles are spatially and geometrically distinct from X-ray interactions, two pulse heights respond differently!
    Pulse height ratio PI_RATIO used as background diagnostic
NICER is not outfitted with a “magnetic broom,” and orbit is 55 degree inclination
  Higher electron-related backgrounds

## Slide 6: Sources of NICER Background
Anode
SDD
Cathode
Low Energy Electron
X-ray photon
Ionizing Particle
Optical photon
Leakage Current
Ionizing particles - ~300 keV – Cosmic Ray (COR), Trapped Energetic Electrons/Protons (TREL,SAA)
Optical Photons, Leakage Current – Noise Peak
X-ray Photons – CXB, LHB, Halo
Lower Energy Electrons – Precipitating & Forbidden Electrons - 1-20 keV (PREL,LEEL)

## Slide 7: Ionizing Particles
Both tracks will deposit ~300 keV of energy in silicon
  Depends on particle type, energy, angle
  This is above the ~25 keV overshoot threshold
Active Volume
Particle Tracks
Dead Volume

## Slide 8: Ionizing Particles and Overshoots
Tracks that clip the <10% of the active region provide the primary background due to ionizing particles (“corner clippers”)
  Other parts of deposited energy track are lost to dead volume
We use overshoots as a diagnostic for corner clippers
Active Volume
200 keV
20 keV
Dead Volume

## Slide 9: Geographic View of Overshoots
SAA
Cosmic Ray (COR)
“Polar Horns” (TREL/PREL)

## Slide 10: The Cosmic Ray Component is Predictable
Predictions based upon “COR_SAX”

## Slide 11: Residuals After Subtracting COR
SAA
Trapped Electrons

## Slide 12: Trapped Electron Population
DEMETER IDP Instrument Electron Map, Whittaker et al 2013

## Slide 13: Basic Recipe
Start with quiescent part of orbit, model with Constant (CON) plus linear Cut-Off Rigidity (COR) dependence
Subtract COR model, and consider remainder as trapped electrons (TREL) and South Atlantic Anomaly (SAA) with linear dependence on overshoots
Identify remaining flares as precipitating electrons (PREL) and “low-energy electrons” (LEEL)
Separate model for astrophysical X-ray background terms (CXB, SWX, LHB, Halo) and electronic noise peak
We also see neutral oxygen from polar cusps Dujakovich et al 2026, currently unmodeled

## Slide 14: SCORPEON Name
S COR PE O N
  S = SAA
  COR = COsmic-Ray (COR_SAX)
  PE = Precipitating & trapped Electrons
    Precipitating electron population (PREL)
    Trapped electron population (TREL)
    Low energy electrons (LEEL) – solar storms
  O = cOnstant
    Astrophysical: CXB + Halo + LHB + SWCX
    Non-varying Non-X-ray background
  N = Electronic Noise peak

## Slide 15: Types of Background Components
SAA Trapped Protons
COR Cosmic Ray
TREL
Trapped Electrons
PREL Precipitating Electrons
LEEL ★ Low-Energy Electrons
CON Constant NXB, Sky
Electron-Dominated
Hadron-Dominated

## Slide 16: Electron-Dominated Components
PREL Geo: COR < 1.5
Temp: ~1 s Flares Spect: Cut 10keV
TREL Geo: COR ≲ 8 Temp: Hourly
Spect: Flat
LEEL ★ Geo: Anywhere Temp: Hourly Spect: Cut 2keV

## Slide 17: Electron-Dominated Components
PREL Geo: COR < 1.5
Temp: ~1 s Flares Spect: Cut 10keV
TREL Geo: COR ≲ 8 Temp: Hourly
Spect: Flat
LEEL ★ Geo: Anywhere Temp: Hourly? Spect: Cut 2keV

## Slide 18: Spectral Comparison of Electron Components
For same overshoot, greatly different < 10 keV counts
OSHOOT

## Slide 19: Energy Ranges of Components
LEEL
PREL
Trapped Electrons (TREL)
SAA
Cosmic Rays (COR)
NICER Band → Overshoots
Penetrate NICER Shielding → Trumpet-rejected (Slow/Fast Ratio)
Minimum Ionizing

## Slide 20: Our Solution
Predict as best we can the counts in each component
Allow the model norms to vary during spectral fitting, along with the source spectrum
Benefit to keep the entire energy range, which allows spectral fitter to better distinguish components
Better captures the interaction between source spectral parameters and background uncertainties

## Slide 21: Cosmic Ray (COR)
Very predictable
  ~GeV (penetrating)
  Modulated by COR_SAX
  Additional solar modulation

## Slide 22: South Atlantic Anomaly (SAA)
Trapped Protons
  ~500 MeV (penetrating)
  Smooth temporal behavior
  Overshoot dependence with geographic template

## Slide 23: Trapped Electrons (TREL)
Trapped Electrons
  <2 MeV (partially penetrating)
  Highly variable, modulated by solar activity
  Overshoot dependence with geographic template

## Slide 24: Precipitating Electrons (PREL)
Precipitating Electrons
  < 50 keV
  Extreme flares
  Only high magnetic latitude (COR < 1.5)
  Not modeled: screened, or flare heuristic

## Slide 25: Low-Energy Electrons (LEEL)
Low Energy Electrons
  < 5 keV
  ~Daily Variation, ”Rare”
  ~Equatorial
  Could be ”forbidden” electron population (e.g. Suvorova et al 2014)
?

## Slide 26: Astrophysical & Terrestrial X-rays
CXB – Cosmic X-ray Background shape & norm (Chandra: Cappelluti et al 2017)
Halo – Galactic halo emission temperature & emission measure (HaloSat: Kaaret et al 2019)
LHB – Local Hot Bubble emission temperature & emission measure (ROSAT: Liu et al 2017)
SWCX – Solar Wind Charge Exchange lines (O VII, O VIII, Ne IX, default 0)
OK – neutral Oxygen K emission from terrestrial cusp environment (default 0)
All estimated background norms have reasonable estimates and limits based on published results, but are adjustable for better match to data
Local Hot Bubble
Credit: HaloSat
Credit: ROSAT
Galactic Halo

## Slide 27: XSPEC Fitting Example

## Slide 28: NICER Modeling of RX J1856
NICER consists of 52 non-imaging X-ray modules with nearly 2x effective area as EPIC-pn @ 1keV and ~3’ radius FOV
New analysis of existing J1856 data with in-development cal products
  Includes 1BB for J1856 and Galactic Bulge, CXB, Local Hot Bubble, Galactic Halo, and other NXB components
  NICER statistical error bars are ~1%
J1856 parameters are coupled with background parameters but are reasonable overall; no evidence of ~1 keV excess
1BB Fit - NICER
nH = 11.9(1.3) x 10-19 cm-2
kT = 63.48(65) eV Norm = 0.89(7) x Chandra
J1856 Embedded in Bulge Diffuse Emission
ROSAT PSPC ¾ keV Survey
J1856
Diffuse
NXB