## Slide 1
PCA and Sky Monitors for Crab Flux Transfer Craig Markwardt (NASA/GSFC)
GSFC
Working Groups

## Slide 2: Motivation
X-ray Instruments with ”Absolute” calibration for bright sources may not be frequent
Desire to transfer a flux standard to a different date
Use sky monitors as a relative transfer standard

## Slide 3: Fermi GBM: Crab (15-50 keV)

## Slide 4: RXTE ASM: Crab (1.5-12 keV)

## Slide 5: Swift BAT: Crab (15-50 keV)

## Slide 6: Sky Monitors Combined
Crab-Normalized?
ASM
BAT
GBM
Clear Break

## Slide 7: Long Term Flux Transfer
NuSTAR Stray Light: 2013-present
RXTE PCA: 1996-2012
Swift BAT: 2005-2018
Femi GBM: 2008-present
Relative errors ~1%

## Slide 8: Example Application: PCA+GBM
Use GBM to “extend” PCA flux solution to the NuSTAR epoch: ~4% difference between two solutions